## Sheet1
Building Metadata
Building ID CAAN | Building Name | Building Use Type | Building Area (GSF) | Current District Cooling Y/N? | Current District Heating Y/N? | Current District Hot Water Y/N? | First Year Active | Last Year Active | Region (JAB, Delete when finished) | Year of Decarb | Decarbonization Type (New Building Heat Pumps vs. New CUP) | Feasibility to connect to district heating/cooling loop (delete when finished) | Year of Cooking and Laundry Decarb | Electricity Utility Provider | Is PPA? | Gas Utility Provider | Electric Utility Billing Group | Gas Utility Billing Group | Equipment Safety Factor % | % Redundancy for New Bldg Thermal Equipment
9100 | New CUP | New CUP | 10000 |  |  |  | 2035 | 2100 |  | 2035 | New CUP
7534 | Arts PPA Solar | Solar |  |  |  |  | 2018 | 2100 | [6 empty] | Y
7552 | Cheadle PPA Solar | Solar |  |  |  |  | 2018 | 2100 | [6 empty] | Y
7525 | Davidson PPA Solar | Solar |  |  |  |  | 2018 | 2100 | [6 empty] | Y
7243 | Athletics PPA Solar | Solar |  |  |  |  | 2018 | 2100 | [6 empty] | Y
71120 | Sierra Madre PPA Solar | Solar |  |  |  |  | 2018 | 2100 | [6 empty] | Y
7223 | Theater PPA Solar | Solar |  |  |  |  | 2018 | 2100 | [6 empty] | Y
7591 | Kerr PPA Solar | Solar |  |  |  |  | 2018 | 2100 | [6 empty] | Y
7533 | Robertson Gym PPA Solar | Solar |  |  |  |  | 2016 | 2100 | [6 empty] | Y
7834 | Lot 38 PPA Solar | Solar |  |  |  |  | 2016 | 2100 | [6 empty] | Y
7250 | Mesa Parking PPA Solar | Solar |  |  |  |  | 2017 | 2100 | [6 empty] | Y
7252 | Elings Parking PPA Solar | Solar |  |  |  |  | 2017 | 2100 | [6 empty] | Y
7839 | San Clemente Parking PPA Solar | Solar |  |  |  |  | 2017 | 2100 | [6 empty] | Y
7521 | Bren Hall Solar | Solar |  |  |  |  | 2002 | 2100 | [6 empty] | N
7562 | Carillo Dining Solar | Solar |  |  |  |  | 2007 | 2100 | [6 empty] | N
7578 | Harder Stadium Solar | Solar |  |  |  |  | 2010 | 2100 | [6 empty] | N
7000 | Henley Gate Solar | Solar |  |  |  |  | 2010 | 2100 | [6 empty] | N
7254 | Parking Structure 22 Solar | Solar |  |  |  |  | 2015 | 2100 | [6 empty] | N
7511 | Rec Center II Solar | Solar |  |  |  |  | 2008 | 2100 | [6 empty] | N
8999 | Current District Systems | District Systems | 10000 | Y | Y | N | 2024 | 2035 |  | 2035
8897 | 6759 Navigator Way Bldg. 7 (DFSS) | Office/ Administrative | 36848 | N | N | N | 2021 | 2100 | OFFSITE | 2036 | New Building Heat Pumps | N | 2040
8896 | 6765 Navigator Way Bldg. 6 (DFSS) | Office/ Administrative | 17072 | N | N | N | 2021 | 2100 | OFFSITE | 2036 | New Building Heat Pumps | N | 2040
8895 | 6789 Navigator Way Bldg. 5 (DFSS) | Office/ Administrative | 26621 | N | N | N | 2021 | 2100 | OFFSITE | 2036 | New Building Heat Pumps | N | 2040
8970 | 910 Embarcadero | Office/ Administrative | 4345 | N | N | N | 1960 | 2100 | IV | 2040 | New Building Heat Pumps | N | 2040
8547 | Anacapa Residence Hall | Residences/ Dorms | 78113 | N | N | N | 1958 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8924 | Anacapa Street (NCEAS) | Office/ Administrative | 36820 | N | N | N | 2000 | 2100 | OFFSITE | 2036 | New Building Heat Pumps | N | 2040
8465 | Aquarium Facility | Labs | 5025 | N | N | N | 1943 | 2100 | MAIN | 2035 | New CUP | N | 2040
8501 | Arbor Convenience Store | Other | 4606 | N | N | N | 2005 | 2100 | MAIN | 2035 | New CUP | N | 2040
8880 | Arguello Residence Hall | Residences/ Dorms | 11859 | N | N | N | 2002 | 2100 | MAIN | 2035 | New CUP | N | 2040
8245 | Arnhold Tennis Center | Gymnasium/ Athletic | 1948 | N | N | N | 2021 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8840 | Arrowhead 840 | Residences/ Dorms | 9699 | N | N | N | 2008 | 2100 | STORKE | 2040 | New CUP | N | 2040
8841 | Arrowhead 841 | Residences/ Dorms | 50824 | N | N | N | 2008 | 2100 | STORKE | 2040 | New CUP | N | 2040
8850 | Arrowhead 850 | Residences/ Dorms | 18919 | N | N | N | 2008 | 2100 | STORKE | 2040 | New CUP | N | 2040
8534 | Arts | Academic/ Classrooms | 83683 | N | N | N | 1957 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8933 | Aston Avenue (MSI SONGS) | Other | 5962 | N | N | N | 2001 | 2100 | OFFSITE | 2036 | New Building Heat Pumps | N | 2040
8577 | Baseball Lockers | Gymnasium/ Athletic | 1798 | N | N | N | 2005 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8502 | Beach Pump | Other | 1552 | N | N | N | 1975 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8550 | Beach Pump House | Other | 1100 | N | N | N | 1961 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8324 | Bike Shop | Other | 1200 | N | N | N | 2010 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8504 | Bio Sci Instruction Facility | Labs | 14006 | N | N | N | 1985 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8539 | Bio Sciences Annex | Labs | 1391 | N | N | N | 1958 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8512 | Bioengineering Building | Labs | 85566 | Y | N | N | 2017 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8571 | Biological Sciences II | Labs | 129364 | Y | N | N | 1966 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8569 | Biology Research Lab | Labs | 8184 | N | N | N | 1964 | 2100 | MAIN | 2035 | New CUP | N | 2040
8583 | Bird Aviary | Academic/ Classrooms | 1493 | N | N | N | 1993 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8842 | Bradbury 842 | Residences/ Dorms | 53250 | N | N | N | 2008 | 2100 | STORKE | 2040 | New CUP | N | 2040
8849 | Bradbury 849 | Residences/ Dorms | 17335 | N | N | N | 2008 | 2100 | STORKE | 2040 | New CUP | N | 2040
8521 | Bren Hall | Labs | 82972 | Y | N | N | 2002 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8572 | Broida Hall | Labs | 150363 | Y | Y | N | 1967 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8573 | Buchanan Hall | Academic/ Classrooms | 18639 | N | N | N | 1967 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8232 | Building 232 | Office/ Administrative | 2160 | N | N | N | 2003 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8351 | Building 351 | Office/ Administrative | 3853 | N | N | N | 1954 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8402 | Building 402 | Office/ Administrative | 5040 | N | N | N | 1943 | 2100 | MAIN | 2035 | New CUP | N | 2040
8434 | Building 434 | Office/ Administrative | 14272 | N | N | N | 1943 | 2100 | MAIN | 2035 | New CUP | N | 2040
8451 | Building 451 | Office/ Administrative | 4489 | N | N | N | 1943 | 2100 | MAIN | 2035 | New CUP | N | 2040
8477 | Building 477 | Office/ Administrative | 3703 | N | N | N | 1943 | 2100 | MAIN | 2035 | New CUP | N | 2040
8489 | Building 489 | Office/ Administrative | 9058 | N | N | N | 1944 | 2100 | MAIN | 2035 | New CUP | N | 2040
8944 | Cachuma Boat House | Gymnasium/ Athletic | 2250 | N | N | N | 1982 | 2100 | OFFSITE | 2036 | New Building Heat Pumps | N | 2040
8538 | Campbell Hall | Academic/ Classrooms | 14491 | N | N | N | 1961 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8889 | Camuesa Residence Hall | Residences/ Dorms | 11343 | N | N | N | 2002 | 2100 | MAIN | 2035 | New CUP | N | 2040
8562 | Carrillo Dining Commons | Dining Hall | 23346 | N | N | N | 1967 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8843 | Castaic 843 | Residences/ Dorms | 33230 | N | N | N | 2008 | 2100 | STORKE | 2040 | New CUP | N | 2040
8847 | Castaic 847 | Residences/ Dorms | 10953 | N | N | N | 2008 | 2100 | STORKE | 2040 | New CUP | N | 2040
8848 | Castaic 848 | Residences/ Dorms | 2491 | N | N | N | 2008 | 2100 | STORKE | 2040 | New CUP | N | 2040
8851 | Castaic 851 | Residences/ Dorms | 16232 | N | N | N | 2008 | 2100 | STORKE | 2040 | New CUP | N | 2040
8925 | Castilian Drive (A&L Admin) | Other | 5378 | N | N | N | 1996 | 2100 | OFFSITE | 2036 | New Building Heat Pumps | N | 2040
8530 | Centennial House Conf Facil | Office/ Administrative | 985 | N | N | N | 1968 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8595 | Central Garage | Other | 3870 | N | N | N | 1974 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8336 | Central Garage Office | Other | 320 | N | N | N | 1969 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8510 | Central Garage Storage | Other | 168 | N | N | N | 1942 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8507 | Central Storehouse | Other | 20926 | N | N | N | 1980 | 2100 | STORKE | 2039 | New CUP | N | 2040
8834 | Charles T. Munger Physics Residence | Residences/ Dorms | 78117 | N | N | N | 2017 | 2100 | STORKE | 2040 | New CUP | N | 2040
8552 | Cheadle Hall | Office/ Administrative | 68143 | N | N | N | 1963 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8557 | Chemistry | Labs | 99298 | Y | N | N | 1964 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8570 | Chemistry Annex | Labs | 6130 | N | N | N | 1964 | 2100 | MAIN | 2035 | New CUP | N | 2040
8406 | Chicano Students Center | Office/ Administrative | 6766 | N | N | N | 1943 | 2100 | MAIN | 2035 | New CUP | N | 2040
8878 | Cienega Residence Hall | Residences/ Dorms | 14777 | N | N | N | 2002 | 2100 | MAIN | 2035 | New CUP | N | 2040
8300 | CLAS | Office/ Administrative | 2160 | N | N | N | 1989 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8575 | Cloud Research Lab | Academic/ Classrooms | 3004 | Y | N | N | 1969 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8363 | Coal Oil Point Reserve Office | Office/ Administrative | 448 | N | N | N | 1948 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8366 | Coal Oil Point Staff Trailer | Office/ Administrative | 1350 | N | N | N | 1997 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8378 | Communication Trailer | Office/ Administrative | 1440 | N | N | N | 1993 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8379 | Communication Trailer 2 | Office/ Administrative | 1440 | N | N | N | 1990 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8883 | Condor Residence Hall | Residences/ Dorms | 10622 | N | N | N | 2002 | 2100 | MAIN | 2035 | New CUP | N | 2040
87060 | COPR Nature Center | Other | 5480 | N | N | N | 1960 | 2100 | WEST-D | 2037 | New Building Heat Pumps | N | 2040
8532 | Coral Tree Cafe | Other | 2494 | N | N | N | 1996 | 2100 | MAIN | 2035 | New CUP | N | 2040
8494 | Creative Studies | Academic/ Classrooms | 18260 | N | N | N | 1944 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8891 | Cuyama Residence Hall | Residences/ Dorms | 13935 | N | N | N | 2002 | 2100 | MAIN | 2035 | New CUP | N | 2040
8525 | Davidson Library | Library | 409922 | Y | N | N | 1952 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8875 | De Anza Residence Hall | Office/ Administrative | 10813 | N | N | N | 2002 | 2100 | MAIN | 2035 | New CUP | N | 2040
8549 | De La Guerra Dining Commons | Dining Hall | 32027 | N | N | N | 1958 | 2100 | MAIN | 2035 | New CUP | Y | 2040
87015 | DEV7015 | Other | 1301 | N | N | N | 1960 | 2100 | WEST-D | 2037 | New Building Heat Pumps | N | 2040
87020 | DEV7020 | Other | 8500 | N | N | N | 1960 | 2100 | WEST-D | 2037 | New Building Heat Pumps | N | 2040
87040 | DEV7040 | Other | 5471 | N | N | N | 1949 | 2100 | WEST-D | 2037 | New Building Heat Pumps | N | 2040
87045 | DEV7045 | Other | 9438 | N | N | N | 1980 | 2100 | WEST-D | 2037 | New Building Heat Pumps | N | 2040
87055 | DEV7055 | Other | 24399 | N | N | N | 1925 | 2100 | WEST-D | 2037 | New Building Heat Pumps | N | 2040
87085 | DEV7085 | Other | 4718 | N | N | N | 1969 | 2100 | WEST-D | 2037 | New Building Heat Pumps | N | 2040
87905 | DEV7905 | Other | 5397 | N | N | N | 1965 | 2100 | WEST-D | 2037 | New Building Heat Pumps | N | 2040
87961 | DEV7961 | Other | 11353 | N | N | N | 1960 | 2100 | WEST-D | 2037 | New Building Heat Pumps | N | 2040
8844 | Donner 844 | Residences/ Dorms | 53250 | N | N | N | 2008 | 2100 | STORKE | 2040 | New CUP | N | 2040
8846 | Donner 846 | Residences/ Dorms | 17326 | N | N | N | 2008 | 2100 | STORKE | 2040 | New CUP | N | 2040
8275 | Education Building | Academic/ Classrooms | 93893 | Y | N | N | 2009 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8945 | El Dorado Apartments | Residences/ Dorms | 41936 | N | N | N | 1963 | 2100 | IV | 2040 | New Building Heat Pumps | N | 2040
8524 | Electrical Sub-Station | Other | 2497 | N | N | N | 1942 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8266 | Elings Hall | Labs | 111774 | Y | N | N | 2006 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8563 | Ellison Hall | Academic/ Classrooms | 114144 | N | N | N | 1967 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8941 | Embarcadero Hall | Academic/ Classrooms | 12963 | N | N | N | 1970 | 2100 | IV | 2040 | New Building Heat Pumps | N | 2040
8500 | Emergency Generator Station | Other | 103 | N | N | N | 1989 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8845 | Encino 845 | Residences/ Dorms | 37953 | N | N | N | 2008 | 2100 | STORKE | 2040 | New CUP | N | 2040
8852 | Encino 852 | Residences/ Dorms | 16232 | N | N | N | 2008 | 2100 | STORKE | 2040 | New CUP | N | 2040
8503 | Engineering II | Labs | 145155 | Y | Y | N | 1986 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8225 | Engineering Science | Labs | 87957 | Y | N | N | 2004 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8380 | Engineering Trailer 380 | Office/ Administrative | 1440 | N | N | N | 1985 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8384 | Engineering Trailer 384 | Office/ Administrative | 1434 | N | N | N | 2004 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8697 | Engineering Trailer 697 | Office/ Administrative | 727 | N | N | N | 1991 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8698 | Engineering Trailer 698 | Office/ Administrative | 1434 | N | N | N | 1991 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8699 | Engineering Trailer 699 | Office/ Administrative | 1432 | N | N | N | 1991 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8935 | Engineering Trailer 935 | Office/ Administrative | 1440 | N | N | N | 2001 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8936 | Engineering Trailer 936 | Office/ Administrative | 1440 | N | N | N | 2001 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8565 | Environmental Health & Safety | Office/ Administrative | 15013 | N | N | N | 1992 | 2100 | MAIN | 2035 | New CUP | N | 2040
8505 | Events Center | Gymnasium/ Athletic | 64197 | Y | N | N | 1980 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8934 | Fairview Ave (UCEAP) | Gymnasium/ Athletic | 10840 | N | N | N | 2008 | 2100 | OFFSITE | 2036 | New Building Heat Pumps | N | 2040
8893 | Figueroa Residence Hall | Residences/ Dorms | 10111 | N | N | N | 2002 | 2100 | MAIN | 2035 | New CUP | N | 2040
8205 | Filter / Reservoir House | Office/ Administrative | 4118 | N | N | N | 2001 | 2100 | MAIN | 2035 | New CUP | N | 2040
8597 | First Aid Hostel | Other | 336 | N | N | N | 1989 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8343 | Flammable Storage 343 | Other | 406 | N | N | N | 2008 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8598 | Flammable Storage 598 | Other | 884 | N | N | N | 1975 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8340 | FM Building 340 | Office/ Administrative | 1926 | N | N | N | 1972 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8437 | FM Building 437 | Office/ Administrative | 6239 | N | N | N | 1943 | 2100 | MAIN | 2035 | New CUP | N | 2040
8439 | FM Building 439 | Office/ Administrative | 6280 | N | N | N | 1943 | 2100 | MAIN | 2035 | New CUP | N | 2040
8594 | FM Shop | Office/ Administrative | 6040 | N | N | N | 1974 | 2100 | MAIN | 2035 | New CUP | N | 2040
8347 | FM Storage 347 | Office/ Administrative | 319 | N | N | N | 1984 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8348 | FM Storage 348 | Office/ Administrative | 319 | N | N | N | 1984 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8349 | FM Storage 349 | Office/ Administrative | 319 | N | N | N | 1987 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8373 | FM Storage 373 | Office/ Administrative | 320 | N | N | N | 1984 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8415 | FM Storage 415 | Office/ Administrative | 144 | N | N | N | 1977 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8584 | FM Storage 584 | Office/ Administrative | 8522 | N | N | N | 1967 | 2100 | MAIN | 2035 | New CUP | N | 2040
8370 | FM Trailer 370 | Office/ Administrative | 2880 | N | N | N | 1990 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8371 | FM Trailer 371 | Office/ Administrative | 2916 | N | N | N | 1978 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8972 | FM Trailer 972 | Office/ Administrative | 2860 | N | N | N | 1994 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8932 | Garden Street (MAT) | Office/ Administrative | 400 | N | N | N | 2016 | 2100 | OFFSITE | 2036 | New Building Heat Pumps | N | 2040
8882 | Gaviota Residence Hall | Residences/ Dorms | 10110 | N | N | N | 2002 | 2100 | MAIN | 2035 | New CUP | N | 2040
8564 | Girvetz Hall | Academic/ Classrooms | 48871 | N | N | N | 1955 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8339 | Green Barn Storage | Other | 848 | N | N | N | 1935 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8442 | Greenhouse 442 | Academic/ Classrooms | 758 | N | N | N | 2013 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8443 | Greenhouse 443 | Academic/ Classrooms | 2770 | N | N | N | 2013 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8540 | Greenhouse 540 | Academic/ Classrooms | 6082 | N | N | N | 1960 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8541 | Greenhouse 541 | Academic/ Classrooms | 1826 | N | N | N | 2010 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8578 | Harder Office | Office/ Administrative | 11500 | N | N | N | 2004 | 2100 | STORKE | 2039 | New CUP | N | 2040
8580 | Harder Stadium | Gymnasium/ Athletic | 32825 | N | N | N | 1966 | 2100 | STORKE | 2039 | New CUP | N | 2040
8556 | Harold Frank Hall | Labs | 100067 | Y | N | N | 1965 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8226 | Henley Hall | Labs | 49908 | Y | N | N | 2020 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8515 | Humanities And Soc Sci Bldg | Academic/ Classrooms | 154547 | Y | N | N | 1996 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8506 | Interactive Learning Pavilion | Academic/ Classrooms | 95000 | Y | N | N | 2023 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8243 | Intercollegiate Athletics | Gymnasium/ Athletic | 44213 | N | N | N | 2005 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8948 | Isla Vista Theater | Academic/ Classrooms | 11385 | N | N | N | 1970 | 2100 | IV | 2040 | New Building Heat Pumps | N | 2040
8950 | IV Community Resources Bldg | Office/ Administrative | 1264 | N | N | N | 1970 | 2100 | IV | 2040 | New Building Heat Pumps | N | 2040
8879 | Jalama Residence Hall | Residences/ Dorms | 11378 | N | N | N | 2002 | 2100 | MAIN | 2035 | New CUP | N | 2040
8591 | Kerr Hall | Academic/ Classrooms | 43678 | N | N | N | 1975 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8567 | Kohn Hall | Academic/ Classrooms | 38038 | Y | N | N | 1994 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8884 | La Cumbre Residence Hall | Residences/ Dorms | 11696 | N | N | N | 2002 | 2100 | MAIN | 2035 | New CUP | N | 2040
8240 | Lake Hemet MWD (ERI) | Other | 80 | N | N | N | 2002 | 2100 | OFFSITE | 2036 | New Building Heat Pumps | N | 2040
8235 | Life Sciences | Labs | 77526 | Y | N | N | 2003 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8876 | Loma Pelona Multipurpose Ctr | Office/ Administrative | 7076 | N | N | N | 2009 | 2100 | MAIN | 2035 | New CUP | N | 2040
8892 | Madulce Residence Hall | Residences/ Dorms | 10727 | N | N | N | 2002 | 2100 | MAIN | 2035 | New CUP | N | 2040
8529 | Main Sewer Pump | Academic/ Classrooms | 2094 | N | N | N | 1952 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8555 | Marine Biotechnology Lab | Labs | 36825 | N | N | N | 1963 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8520 | Marine Science Building | Labs | 58881 | Y | N | N | 2004 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8519 | Marine Science Utility Bldg | Labs | 1167 | N | N | N | 2005 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8615 | Materials Research Lab | Labs | 37109 | Y | N | N | 1997 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8250 | Mesa Parking | Other | 312746 | N | N | N | 1998 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8881 | Miranda Residence Hall | Residences/ Dorms | 14202 | N | N | N | 2002 | 2100 | MAIN | 2035 | New CUP | N | 2040
8383 | Modular Building 383 | Office/ Administrative | 1440 | N | N | N | 2018 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8387 | Modular Classroom | Academic/ Classrooms | 2808 | N | N | N | 1998 | 2100 | MAIN | 2035 | New CUP | N | 2040
8592 | Molten Metal Lab | Academic/ Classrooms | 1697 | N | N | N | 1974 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8885 | Montecito Residence Hall | Residences/ Dorms | 10197 | N | N | N | 2002 | 2100 | MAIN | 2035 | New CUP | N | 2040
8517 | Mosher Alumni House | Office/ Administrative | 23929 | Y | N | N | 2007 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8334 | MSI Trailer 334 | Office/ Administrative | 520 | N | N | N | 1965 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8338 | MSI Trailer 338 | Office/ Administrative | 696 | N | N | N | 1971 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8342 | MSI Trailer 342 | Office/ Administrative | 1488 | N | N | N | 1978 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8511 | Multi-Activity Center | Gymnasium/ Athletic | 53197 | N | N | N | 2005 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8531 | Music | Academic/ Classrooms | 80924 | Y | N | N | 1954 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8929 | NCOS Gator Barn | Other | 1564 | N | N | N | 2019 | 2100 | NORTH CAMPUS | 2036 | New Building Heat Pumps | N | 2040
8544 | Noble Hall | Labs | 44006 | Y | N | N | 1958 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8535 | North Hall | Academic/ Classrooms | 66119 | Y | N | N | 1960 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8559 | North Sewer Pump Station | Other | 895 | N | N | N | 1969 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8585 | North Water Pump Station | Other | 2400 | N | N | N | 1968 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8479 | Old Gym And Pool | Gymnasium/ Athletic | 22809 | N | N | N | 1944 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8355 | Orfalea Family Children's Ctr | Other | 13373 | N | N | N | 1965 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8542 | Ortega Dining Commons | Dining Hall | 23416 | N | N | N | 1956 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8514 | OSEB | Office/ Administrative | 17021 | N | N | N | 2010 | 2100 | MAIN | 2035 | New CUP | N | 2040
8949 | Pardall Center | Office/ Administrative | 3045 | N | N | N | 1973 | 2100 | IV | 2040 | New Building Heat Pumps | N | 2040
8252 | Parking II | Other | 218698 | N | N | N | 2006 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8254 | Parking III | Other | 346432 | N | N | N | 2007 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8381 | Parking Services | Office/ Administrative | 1617 | N | N | N | 1985 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8388 | Parking Services 2 | Office/ Administrative | 2130 | N | N | N | 1991 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8890 | Pendola Residence Hall | Residences/ Dorms | 13141 | N | N | N | 2002 | 2100 | MAIN | 2035 | New CUP | N | 2040
8560 | Phelps Hall | Academic/ Classrooms | 134893 | N | N | N | 1965 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8657 | Physical Sciences North | Labs | 93317 | Y | N | N | 1994 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8672 | Physical Sciences South | Labs | 23457 | Y | Y | N | 1994 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8317 | Police 317 | Office/ Administrative | 1456 | N | N | N | 1966 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8376 | Police Trailer | Office/ Administrative | 919 | N | N | N | 2001 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8277 | Pollock Theater | Other | 14505 | Y | N | N | 2009 | 2100 | MAIN | 2035 | New CUP | Y | 2040
81861 | Portola Dining Commons | Dining Hall | 33961 | N | N | N | 2018 | 2100 | STORKE | 2039 | New CUP | N | 2040
8551 | Psychology | Labs | 48027 | Y | N | N | 1963 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8251 | Psychology East | Labs | 31882 | Y | N | N | 2006 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8574 | Public Safety | Office/ Administrative | 15858 | N | N | N | 1967 | 2100 | STORKE | 2039 | New CUP | N | 2040
8516 | Recreation Center | Gymnasium/ Athletic | 66130 | N | N | N | 1994 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8545 | Recreation Restroom & Storage | Gymnasium/ Athletic | 826 | N | N | N | 1957 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8537 | Recreation Storage 537 | Gymnasium/ Athletic | 486 | N | N | N | 1959 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8322 | Relocatable 322 | Office/ Administrative | 710 | N | N | N | 1998 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8887 | Rincon Residence Hall | Residences/ Dorms | 10112 | N | N | N | 2002 | 2100 | MAIN | 2035 | New CUP | N | 2040
8533 | Robertson Gym | Gymnasium/ Athletic | 79276 | N | N | N | 1957 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8839 | San Clemente Parking IV | Other | 268168 | N | N | N | 2008 | 2100 | STORKE | 2040 | New Building Heat Pumps | N | 2040
8553 | San Miguel Residence Hall | Residences/ Dorms | 85414 | N | N | N | 1962 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8561 | San Nicolas Residence Hall | Residences/ Dorms | 84950 | N | N | N | 1964 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8587 | San Rafael Cluster | Residences/ Dorms | 48012 | N | N | N | 1967 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8400 | San Rafael Pool Dressing Room | Residences/ Dorms | 418 | N | N | N | 1971 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8586 | San Rafael Tower | Residences/ Dorms | 61473 | N | N | N | 1967 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8860 | Santa Catalina Res Hall | Residences/ Dorms | 251100 | N | N | N | 1966 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8392 | Santa Cruz Isle Facility 2 | Other | 2285 | N | N | N | 1967 | 2100 | NATRES | 2045 | New Building Heat Pumps | N | 2040
8393 | Santa Cruz Isle Facility 3 | Other | 1160 | N | N | N | 1967 | 2100 | NATRES | 2045 | New Building Heat Pumps | N | 2040
8394 | Santa Cruz Isle Facility 4 | Other | 441 | N | N | N | 1983 | 2100 | NATRES | 2045 | New Building Heat Pumps | N | 2040
8395 | Santa Cruz Isle Facility 5 | Other | 426 | N | N | N | 1983 | 2100 | NATRES | 2045 | New Building Heat Pumps | N | 2040
8396 | Santa Cruz Isle Facility 6 | Other | 426 | N | N | N | 1983 | 2100 | NATRES | 2045 | New Building Heat Pumps | N | 2040
8397 | Santa Cruz Isle Facility 7 | Other | 426 | N | N | N | 1983 | 2100 | NATRES | 2045 | New Building Heat Pumps | N | 2040
8398 | Santa Cruz Isle Facility 8 | Other | 644 | N | N | N | 1983 | 2100 | NATRES | 2045 | New Building Heat Pumps | N | 2040
8399 | Santa Cruz Isle Facility 9 | Other | 192 | N | N | N | 1983 | 2100 | NATRES | 2045 | New Building Heat Pumps | N | 2040
8329 | Santa Cruz Isle Mgrs Res | Other | 1684 | N | N | N | 1964 | 2100 | NATRES | 2045 | New Building Heat Pumps | N | 2040
8391 | Santa Cruz Isle Stwrd House | Other | 322 | N | N | N | 1983 | 2100 | NATRES | 2045 | New Building Heat Pumps | N | 2040
8548 | Santa Cruz Residence Hall | Residences/ Dorms | 78114 | N | N | N | 1958 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8527 | Santa Rosa Residence Hall | Residences/ Dorms | 84495 | N | N | N | 1954 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8808 | Santa Ynez Activities 808 | Residences/ Dorms | 1205 | N | N | N | 1980 | 2100 | STORKE | 2040 | New CUP | N | 2040
8815 | Santa Ynez Activities 815 | Residences/ Dorms | 1205 | N | N | N | 1980 | 2100 | STORKE | 2040 | New CUP | N | 2040
8823 | Santa Ynez Activities 823 | Residences/ Dorms | 1205 | N | N | N | 1980 | 2100 | STORKE | 2040 | New CUP | N | 2040
8831 | Santa Ynez Activities 831 | Residences/ Dorms | 1205 | N | N | N | 1986 | 2100 | STORKE | 2040 | New CUP | N | 2040
8805 | Santa Ynez Apartments 805 | Residences/ Dorms | 7156 | N | N | N | 1980 | 2100 | STORKE | 2040 | New CUP | N | 2040
8806 | Santa Ynez Apartments 806 | Residences/ Dorms | 7832 | N | N | N | 1980 | 2100 | STORKE | 2040 | New CUP | N | 2040
8807 | Santa Ynez Apartments 807 | Residences/ Dorms | 7156 | N | N | N | 1980 | 2100 | STORKE | 2040 | New CUP | N | 2040
8809 | Santa Ynez Apartments 809 | Residences/ Dorms | 2619 | N | N | N | 1980 | 2100 | STORKE | 2040 | New CUP | N | 2040
8810 | Santa Ynez Apartments 810 | Residences/ Dorms | 10734 | N | N | N | 1980 | 2100 | STORKE | 2040 | New CUP | N | 2040
8811 | Santa Ynez Apartments 811 | Residences/ Dorms | 6197 | N | N | N | 1980 | 2100 | STORKE | 2040 | New CUP | N | 2040
8812 | Santa Ynez Apartments 812 | Residences/ Dorms | 9167 | N | N | N | 1980 | 2100 | STORKE | 2040 | New CUP | N | 2040
8813 | Santa Ynez Apartments 813 | Residences/ Dorms | 7764 | N | N | N | 1980 | 2100 | STORKE | 2040 | New CUP | N | 2040
8814 | Santa Ynez Apartments 814 | Residences/ Dorms | 7764 | N | N | N | 1980 | 2100 | STORKE | 2040 | New CUP | N | 2040
8816 | Santa Ynez Apartments 816 | Residences/ Dorms | 8050 | N | N | N | 1980 | 2100 | STORKE | 2040 | New CUP | N | 2040
8819 | Santa Ynez Apartments 819 | Residences/ Dorms | 9843 | N | N | N | 1980 | 2100 | STORKE | 2040 | New CUP | N | 2040
8820 | Santa Ynez Apartments 820 | Residences/ Dorms | 9775 | N | N | N | 1980 | 2100 | STORKE | 2040 | New CUP | N | 2040
8821 | Santa Ynez Apartments 821 | Residences/ Dorms | 10734 | N | N | N | 1980 | 2100 | STORKE | 2040 | New CUP | N | 2040
8822 | Santa Ynez Apartments 822 | Residences/ Dorms | 5589 | N | N | N | 1980 | 2100 | STORKE | 2040 | New CUP | N | 2040
8824 | Santa Ynez Apartments 824 | Residences/ Dorms | 11410 | N | N | N | 1980 | 2100 | STORKE | 2040 | New CUP | N | 2040
8825 | Santa Ynez Apartments 825 | Residences/ Dorms | 11342 | N | N | N | 1980 | 2100 | STORKE | 2040 | New CUP | N | 2040
8826 | Santa Ynez Apartments 826 | Residences/ Dorms | 7156 | N | N | N | 1986 | 2100 | STORKE | 2040 | New CUP | N | 2040
8827 | Santa Ynez Apartments 827 | Residences/ Dorms | 11410 | N | N | N | 1986 | 2100 | STORKE | 2040 | New CUP | N | 2040
8828 | Santa Ynez Apartments 828 | Residences/ Dorms | 9167 | N | N | N | 1986 | 2100 | STORKE | 2040 | New CUP | N | 2040
8829 | Santa Ynez Apartments 829 | Residences/ Dorms | 10734 | N | N | N | 1986 | 2100 | STORKE | 2040 | New CUP | N | 2040
8830 | Santa Ynez Apartments 830 | Residences/ Dorms | 6197 | N | N | N | 1986 | 2100 | STORKE | 2040 | New CUP | N | 2040
8817 | Santa Ynez Laundry | Residences/ Dorms | 1991 | N | N | N | 1980 | 2100 | STORKE | 2040 | New CUP | N | 2040
8818 | Santa Ynez Office Shop | Residences/ Dorms | 2757 | N | N | N | 1980 | 2100 | STORKE | 2040 | New CUP | N | 2040
8832 | Santa Ynez Shop 832 | Residences/ Dorms | 3152 | N | N | N | 1986 | 2100 | STORKE | 2040 | New CUP | N | 2040
8288 | Sedg Directors Residence | Residences/ Dorms | 1192 | N | N | N | 2009 | 2100 | NATRES | 2045 | New Building Heat Pumps | N | 2040
8284 | Sedg Modular Residence II | Residences/ Dorms | 1166 | N | N | N | 2017 | 2100 | NATRES | 2045 | New Building Heat Pumps | N | 2040
8285 | Sedg Tipton Meeting House | Office/ Administrative | 3778 | N | N | N | 2011 | 2100 | NATRES | 2045 | New Building Heat Pumps | N | 2040
81127 | Sierra Madre Apartments | Residences/ Dorms | 45353 | N | N | N | 2016 | 2100 | NORTH CAMPUS | 2036 | New Building Heat Pumps | N | 2040
81122 | Sierra Madre Berryessa Village | Residences/ Dorms | 31358 | N | N | N | 2015 | 2100 | NORTH CAMPUS | 2036 | New Building Heat Pumps | N | 2040
81125 | Sierra Madre Havasu Village | Residences/ Dorms | 31333 | N | N | N | 2015 | 2100 | NORTH CAMPUS | 2036 | New Building Heat Pumps | N | 2040
81121 | Sierra Madre Laguna Village | Residences/ Dorms | 26670 | N | N | N | 2015 | 2100 | NORTH CAMPUS | 2036 | New Building Heat Pumps | N | 2040
81126 | Sierra Madre Miramar Center | Residences/ Dorms | 6295 | N | N | N | 2015 | 2100 | NORTH CAMPUS | 2036 | New Building Heat Pumps | N | 2040
81120 | Sierra Madre Recreation Center | Other | 3343 | N | N | N | 2015 | 2100 | NORTH CAMPUS | 2036 | New Building Heat Pumps | N | 2040
81123 | Sierra Madre Toluca Village | Residences/ Dorms | 31275 | N | N | N | 2015 | 2100 | NORTH CAMPUS | 2036 | New Building Heat Pumps | N | 2040
81124 | SierraMadre Nacimiento Village | Residences/ Dorms | 30961 | N | N | N | 2015 | 2100 | NORTH CAMPUS | 2036 | New Building Heat Pumps | N | 2040
81868 | SJ Calaveras Court #1868 | Residences/ Dorms | 10450 | N | N | N | 2018 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
81869 | SJ Calaveras Court #1869 | Residences/ Dorms | 10014 | N | N | N | 2018 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
81870 | SJ Calaveras Court #1870 | Residences/ Dorms | 9354 | N | N | N | 2018 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
81871 | SJ Calaveras Court #1871 | Residences/ Dorms | 1391 | N | N | N | 2018 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
81872 | SJ Calaveras Court #1872 | Residences/ Dorms | 1481 | N | N | N | 2018 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
81873 | SJ Calaveras Court #1873 | Residences/ Dorms | 11072 | N | N | N | 2018 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
81865 | SJ Elsinore Court #1865 | Residences/ Dorms | 11485 | N | N | N | 2018 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
81866 | SJ Elsinore Court #1866 | Residences/ Dorms | 8308 | N | N | N | 2018 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
81867 | SJ Elsinore Court #1867 | Residences/ Dorms | 12555 | N | N | N | 2018 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
81874 | SJ Malibu Court #1874 | Residences/ Dorms | 10680 | N | N | N | 2018 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
81875 | SJ Malibu Court #1875 | Residences/ Dorms | 11014 | N | N | N | 2018 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
81876 | SJ Malibu Court #1876 | Residences/ Dorms | 8084 | N | N | N | 2018 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
81877 | SJ Malibu Court #1877 | Residences/ Dorms | 11058 | N | N | N | 2018 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
81878 | SJ Ramona Court #1878 | Residences/ Dorms | 1297 | N | N | N | 2018 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
81879 | SJ Ramona Court #1879 | Residences/ Dorms | 10830 | N | N | N | 2018 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
81880 | SJ Ramona Court #1880 | Residences/ Dorms | 6982 | N | N | N | 2018 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
81881 | SJ Ramona Court #1881 | Residences/ Dorms | 1000 | N | N | N | 2018 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
81882 | SJ Ramona Court #1882 | Residences/ Dorms | 11228 | N | N | N | 2018 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
81864 | SJ Tenaya North #1864 | Residences/ Dorms | 41764 | N | N | N | 2018 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
81862 | SJ Tenaya South #1862 | Residences/ Dorms | 48884 | N | N | N | 2018 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
81863 | SJ Tenaya South #1863 | Residences/ Dorms | 1252 | N | N | N | 2018 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8966 | SNARL Animal Quarters | Other | 292 | N | N | N | 1954 | 2100 | NATRES | 2045 | New Building Heat Pumps | N | 2040
8962 | SNARL Classroom | Academic/ Classrooms | 2696 | N | N | N | 2015 | 2100 | NATRES | 2045 | New Building Heat Pumps | N | 2040
8958 | SNARL Container Residence | Other | 629 | N | N | N | 2020 | 2100 | NATRES | 2045 | New Building Heat Pumps | N | 2040
8963 | SNARL Dormitory | Residences/ Dorms | 1984 | N | N | N | 1985 | 2100 | NATRES | 2045 | New Building Heat Pumps | N | 2040
8960 | SNARL Fish Lab | Labs | 1106 | N | N | N | 1965 | 2100 | NATRES | 2045 | New Building Heat Pumps | N | 2040
8965 | SNARL Garage | Other | 2400 | N | N | N | 1998 | 2100 | NATRES | 2045 | New Building Heat Pumps | N | 2040
8961 | SNARL Green Church | Other | 1304 | N | N | N | 1954 | 2100 | NATRES | 2045 | New Building Heat Pumps | N | 2040
8964 | SNARL Headquarters | Office/ Administrative | 3063 | N | N | N | 1935 | 2100 | NATRES | 2045 | New Building Heat Pumps | N | 2040
8951 | SNARL Lab | Labs | 4166 | N | N | N | 1940 | 2100 | NATRES | 2045 | New Building Heat Pumps | N | 2040
8952 | SNARL Residence 1 | Residences/ Dorms | 1312 | N | N | N | 1938 | 2100 | NATRES | 2045 | New Building Heat Pumps | N | 2040
8953 | SNARL Residence 2 | Residences/ Dorms | 2399 | N | N | N | 1940 | 2100 | NATRES | 2045 | New Building Heat Pumps | N | 2040
8954 | SNARL Residence 3 | Residences/ Dorms | 674 | N | N | N | 1940 | 2100 | NATRES | 2045 | New Building Heat Pumps | N | 2040
8955 | SNARL Residence 4 | Residences/ Dorms | 730 | N | N | N | 1940 | 2100 | NATRES | 2045 | New Building Heat Pumps | N | 2040
8956 | SNARL Residence 5 | Residences/ Dorms | 424 | N | N | N | 1940 | 2100 | NATRES | 2045 | New Building Heat Pumps | N | 2040
8957 | SNARL Storage | Other | 175 | N | N | N | 1940 | 2100 | NATRES | 2045 | New Building Heat Pumps | N | 2040
8276 | Social Sciences & Media Stds | Academic/ Classrooms | 92769 | Y | N | N | 2009 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8528 | South Hall | Academic/ Classrooms | 131668 | N | N | N | 1969 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8579 | South Sewer Pump Station | Other | 462 | N | N | N | 1965 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8802 | Storage Bunker 802 | Other | 1352 | N | N | N | 1942 | 2100 | STORKE | 2039 | New CUP | N | 2040
8758 | Storke Apartments 758 | Residences/ Dorms | 4093 | N | N | N | 1972 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8759 | Storke Apartments 759 | Residences/ Dorms | 9026 | N | N | N | 1972 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8760 | Storke Apartments 760 | Residences/ Dorms | 6583 | N | N | N | 1972 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8761 | Storke Apartments 761 | Residences/ Dorms | 9855 | N | N | N | 1972 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8762 | Storke Apartments 762 | Residences/ Dorms | 8217 | N | N | N | 1972 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8763 | Storke Apartments 763 | Residences/ Dorms | 8217 | N | N | N | 1972 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8764 | Storke Apartments 764 | Residences/ Dorms | 8217 | N | N | N | 1972 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8765 | Storke Apartments 765 | Residences/ Dorms | 8205 | N | N | N | 1972 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8766 | Storke Apartments 766 | Residences/ Dorms | 9827 | N | N | N | 1972 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8767 | Storke Apartments 767 | Residences/ Dorms | 9839 | N | N | N | 1972 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8768 | Storke Apartments 768 | Residences/ Dorms | 9815 | N | N | N | 1972 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8769 | Storke Apartments 769 | Residences/ Dorms | 9839 | N | N | N | 1972 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8770 | Storke Apartments 770 | Residences/ Dorms | 9815 | N | N | N | 1972 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8771 | Storke Apartments 771 | Residences/ Dorms | 7413 | N | N | N | 1972 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8772 | Storke Apartments 772 | Residences/ Dorms | 2463 | N | N | N | 1972 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8773 | Storke Apartments 773 | Residences/ Dorms | 7413 | N | N | N | 1972 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8774 | Storke Apartments 774 | Residences/ Dorms | 3272 | N | N | N | 1972 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8775 | Storke Apartments 775 | Residences/ Dorms | 7396 | N | N | N | 1972 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8776 | Storke Apartments 776 | Residences/ Dorms | 4093 | N | N | N | 1972 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8777 | Storke Apartments 777 | Residences/ Dorms | 8205 | N | N | N | 1972 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8779 | Storke Apartments 779 | Residences/ Dorms | 6563 | N | N | N | 1972 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8780 | Storke Apartments 780 | Residences/ Dorms | 9034 | N | N | N | 1972 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8781 | Storke Apartments 781 | Residences/ Dorms | 9034 | N | N | N | 1972 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8782 | Storke Apartments 782 | Residences/ Dorms | 7392 | N | N | N | 1972 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8783 | Storke Apartments 783 | Residences/ Dorms | 7392 | N | N | N | 1972 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8784 | Storke Apartments 784 | Residences/ Dorms | 9055 | N | N | N | 1972 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8785 | Storke Apartments 785 | Residences/ Dorms | 7396 | N | N | N | 1972 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8787 | Storke Apartments 787 | Residences/ Dorms | 8205 | N | N | N | 1972 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8788 | Storke Apartments 788 | Residences/ Dorms | 6563 | N | N | N | 1972 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8789 | Storke Apartments 789 | Residences/ Dorms | 6563 | N | N | N | 1972 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8790 | Storke Apartments 790 | Residences/ Dorms | 3272 | N | N | N | 1972 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8791 | Storke Apartments 791 | Residences/ Dorms | 3272 | N | N | N | 1972 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8792 | Storke Apartments 792 | Residences/ Dorms | 6600 | N | N | N | 1972 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8793 | Storke Apartments 793 | Residences/ Dorms | 4073 | N | N | N | 1972 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8794 | Storke Apartments 794 | Residences/ Dorms | 7028 | N | N | N | 1982 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8795 | Storke Apartments 795 | Residences/ Dorms | 7028 | N | N | N | 1982 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8796 | Storke Apartments 796 | Residences/ Dorms | 5278 | N | N | N | 1982 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8797 | Storke Apartments 797 | Residences/ Dorms | 10519 | N | N | N | 1982 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8798 | Storke Apartments 798 | Residences/ Dorms | 7028 | N | N | N | 1982 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8799 | Storke Apt Community Bldg | Other | 1205 | N | N | N | 1982 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8589 | Storke Publications | Office/ Administrative | 9223 | N | N | N | 1968 | 2100 | MAIN | 2035 | New CUP | N | 2040
8778 | Storke Service 778 | Office/ Administrative | 1061 | N | N | N | 1972 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8786 | Storke Service 786 | Office/ Administrative | 1438 | N | N | N | 1972 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8568 | Student Affairs & Admin Svs | Office/ Administrative | 77755 | Y | N | N | 1996 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8518 | Student Greenhouse | Academic/ Classrooms | 891 | N | N | N | 1980 | 2100 | STORKE | 2039 | New Building Heat Pumps | N | 2040
8588 | Student Health | Other | 39225 | N | N | N | 1968 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8335 | Student Resident Life Trailer | Office/ Administrative | 1800 | N | N | N | 2002 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8221 | Student Resource Building | Office/ Administrative | 67427 | Y | N | N | 2007 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8599 | Student Services | Office/ Administrative | 15506 | N | N | N | 1984 | 2100 | MAIN | 2035 | New CUP | N | 2040
8877 | Tecolote Residence Hall | Residences/ Dorms | 10193 | N | N | N | 2002 | 2100 | MAIN | 2035 | New CUP | N | 2040
8886 | Tepusquet Residence Hall | Residences/ Dorms | 11027 | N | N | N | 2002 | 2100 | MAIN | 2035 | New CUP | N | 2040
8581 | The Club | Residences/ Dorms | 29825 | N | N | N | 1967 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8200 | The Reef | Academic/ Classrooms | 1034 | N | N | N | 2001 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8554 | Theater & Dance East | Academic/ Classrooms | 33945 | N | N | N | 1963 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8223 | Theater & Dance West | Academic/ Classrooms | 32749 | Y | N | N | 2007 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8937 | Trailer 937 | Office/ Administrative | 2160 | N | N | N | 2001 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8939 | Trailer 939 | Office/ Administrative | 2160 | N | N | N | 2001 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8942 | Trailer 942 | Office/ Administrative | 1440 | N | N | N | 2001 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8375 | Transportation Services | Office/ Administrative | 1440 | N | N | N | 1989 | 2100 | MAIN | 2035 | New Building Heat Pumps | N | 2040
8558 | University Center | Other | 159040 | N | N | N | 1964 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8543 | University House | Residences/ Dorms | 5243 | N | N | N | 1964 | 2100 | MAIN | 2035 | New CUP | N | 2040
8985 | VALENTINE Caretaker's Cabin 985 | Other | 721 | N | N | N | 1920 | 2100 | NATRES | 2045 | New Building Heat Pumps | N | 2040
8986 | VALENTINE Caretaker's Cabin 986 | Other | 403 | N | N | N | 1920 | 2100 | NATRES | 2045 | New Building Heat Pumps | N | 2040
8984 | VALENTINE Cookhouse | Other | 739 | N | N | N | 1920 | 2100 | NATRES | 2045 | New Building Heat Pumps | N | 2040
8992 | VALENTINE Dining Shed | Other | 280 | N | N | N | 1920 | 2100 | NATRES | 2045 | New Building Heat Pumps | N | 2040
8989 | VALENTINE Ed Center | Other | 918 | N | N | N | 1920 | 2100 | NATRES | 2045 | New Building Heat Pumps | N | 2040
8987 | VALENTINE Kohler Shed | Other | 360 | N | N | N | 1920 | 2100 | NATRES | 2045 | New Building Heat Pumps | N | 2040
8983 | VALENTINE Old Cabin | Other | 1138 | N | N | N | 1920 | 2100 | NATRES | 2045 | New Building Heat Pumps | N | 2040
8990 | VALENTINE Private Cabin | Other | 1979 | N | N | N | 1920 | 2100 | NATRES | 2045 | New Building Heat Pumps | N | 2040
8991 | VALENTINE Storage Shed | Other | 176 | N | N | N | 1920 | 2100 | NATRES | 2045 | New Building Heat Pumps | N | 2040
8982 | VALENTINE University Cabin | Other | 1259 | N | N | N | 1920 | 2100 | NATRES | 2045 | New Building Heat Pumps | N | 2040
8988 | VALENTINE Wood Shed | Other | 203 | N | N | N | 1920 | 2100 | NATRES | 2045 | New Building Heat Pumps | N | 2040
8526 | Webb Hall | Labs | 43449 | Y | N | N | 1952 | 2100 | MAIN | 2035 | New CUP | Y | 2040
87000 | West 7000 | Other | 1885 | N | N | N | 1960 | 2100 | WEST-D | 2037 | New Building Heat Pumps | N | 2040
87935 | West 7935 | Other | 1320 | N | N | N | 1960 | 2100 | WEST-D | 2037 | New Building Heat Pumps | N | 2040
87945 | West 7945 | Other | 1749 | N | N | N | 1960 | 2100 | WEST-D | 2037 | New Building Heat Pumps | N | 2040
87950 | West 7950 | Other | 3914 | N | N | N | 1960 | 2100 | WEST-D | 2037 | New Building Heat Pumps | N | 2040
87955 | West 7955 | Other | 3726 | N | N | N | 1960 | 2100 | WEST-D | 2037 | New Building Heat Pumps | N | 2040
87965 | West 7965 | Other | 3547 | N | N | N | 1998 | 2100 | WEST-D | 2037 | New Building Heat Pumps | N | 2040
87966 | West 7966 | Other | 3547 | N | N | N | 1998 | 2100 | WEST-D | 2037 | New Building Heat Pumps | N | 2040
8360 | West Animal Compound | Other | 1059 | N | N | N | 1921 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8701 | West Apartment 701 | Residences/ Dorms | 4100 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8702 | West Apartment 702 | Residences/ Dorms | 2942 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8703 | West Apartment 703 | Residences/ Dorms | 8200 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8704 | West Apartment 704 | Residences/ Dorms | 3672 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8705 | West Apartment 705 | Residences/ Dorms | 4100 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8706 | West Apartment 706 | Residences/ Dorms | 4100 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8707 | West Apartment 707 | Residences/ Dorms | 4100 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8708 | West Apartment 708 | Residences/ Dorms | 4100 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8709 | West Apartment 709 | Residences/ Dorms | 2942 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8710 | West Apartment 710 | Residences/ Dorms | 4413 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8711 | West Apartment 711 | Residences/ Dorms | 4100 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8712 | West Apartment 712 | Residences/ Dorms | 4100 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8713 | West Apartment 713 | Residences/ Dorms | 2942 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8714 | West Apartment 714 | Residences/ Dorms | 4100 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8715 | West Apartment 715 | Residences/ Dorms | 4100 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8716 | West Apartment 716 | Residences/ Dorms | 3672 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8717 | West Apartment 717 | Residences/ Dorms | 4100 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8718 | West Apartment 718 | Residences/ Dorms | 4413 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8719 | West Apartment 719 | Residences/ Dorms | 4413 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8720 | West Apartment 720 | Residences/ Dorms | 4413 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8721 | West Apartment 721 | Residences/ Dorms | 3672 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8722 | West Apartment 722 | Residences/ Dorms | 2942 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8723 | West Apartment 723 | Residences/ Dorms | 4100 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8724 | West Apartment 724 | Residences/ Dorms | 8200 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8725 | West Apartment 725 | Residences/ Dorms | 3672 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8726 | West Apartment 726 | Residences/ Dorms | 2942 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8727 | West Apartment 727 | Residences/ Dorms | 4100 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8728 | West Apartment 728 | Residences/ Dorms | 3672 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8729 | West Apartment 729 | Residences/ Dorms | 2222 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8730 | West Apartment 730 | Residences/ Dorms | 4100 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8731 | West Apartment 731 | Residences/ Dorms | 4100 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8732 | West Apartment 732 | Residences/ Dorms | 3672 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8733 | West Apartment 733 | Residences/ Dorms | 4100 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8734 | West Apartment 734 | Residences/ Dorms | 8200 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8735 | West Apartment 735 | Residences/ Dorms | 3672 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8352 | West Art 352 - Child Care | Other | 1365 | N | N | N | 1948 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8362 | West Cliff House | Academic/ Classrooms | 2842 | N | N | N | 1954 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
87050 | West Conference Center | Other | 3560 | N | N | N | 1980 | 2100 | WEST-D | 2037 | New Building Heat Pumps | N | 2040
87095 | West Cottage 7095 | Other | 4419 | N | N | N | 1998 | 2100 | WEST-D | 2037 | New Building Heat Pumps | N | 2040
87097 | West Cottage 7097 | Other | 4419 | N | N | N | 1998 | 2100 | WEST-D | 2037 | New Building Heat Pumps | N | 2040
8354 | West Creative 354 | Academic/ Classrooms | 2021 | N | N | N | 1956 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8361 | West Creative 361 | Academic/ Classrooms | 1295 | N | N | N | 1965 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8738 | West Electrical 738 | Other | 400 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8739 | West Electrical 739 | Other | 144 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8740 | West Heater 740 | Other | 96 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8741 | West Heater 741 | Other | 178 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8742 | West Heater 742 | Other | 96 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8743 | West Heater 743 | Other | 96 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8744 | West Heater 744 | Other | 96 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8745 | West Heater 745 | Other | 96 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8746 | West Heater 746 | Other | 96 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8747 | West Heater 747 | Other | 96 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8748 | West Heater 748 | Other | 96 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8749 | West Heater 749 | Other | 96 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8750 | West Heater 750 | Other | 96 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8751 | West Heater 751 | Other | 96 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8752 | West Heater 752 | Other | 96 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8753 | West Heater 753 | Other | 96 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8754 | West Heater 754 | Other | 178 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8755 | West Heater 755 | Other | 96 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8756 | West Heater 756 | Other | 96 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8757 | West Heater 757 | Other | 96 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
87940 | West House 7940 | Other | 1649 | N | N | N | 1935 | 2100 | WEST-D | 2037 | New Building Heat Pumps | N | 2040
8737 | West Laundry | Residences/ Dorms | 1120 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8358 | West Leisure Service-Red Barn | Other | 5168 | N | N | N | 1921 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8736 | West Office and Laundry | Residences/ Dorms | 1400 | N | N | N | 1961 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8353 | West Recreation Ath | Other | 1084 | N | N | N | 1956 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8367 | West Storage 367 | Other | 542 | N | N | N | 1960 | 2100 | WEST | 2038 | New Building Heat Pumps | N | 2040
8947 | Westgate Apartments | Residences/ Dorms | 26029 | N | N | N | 1962 | 2100 | IV | 2040 | New Building Heat Pumps | N | 2040
8546 | Woodhouse Lab | Labs | 10894 | N | N | N | 1962 | 2100 | MAIN | 2035 | New CUP | Y | 2040
8888 | Zaca Residence Hall | Residences/ Dorms | 10246 | N | N | N | 2002 | 2100 | MAIN | 2035 | New CUP | N | 2040